Design and Manufacture of a Syringe Pump
Daniel Woolsey

---
Project Objectives
- Improve upon the Open Source Syringe Pump Library
  - Take inspiration from commercial pumps and other projects
- Allow for easy extensibility into dual pump system
- Add the ability to withdraw solutions into the pump
- Design touchscreen interface for ease of operation
- Compare accuracy of different stepper motors and the benefits of micro-stepping
- Current market analysis of Syringe Pumps
  - Compare to predictions made in case study from ‘Quantifying the Value of Open Source Hardware Development

---
Project Objectives
- Develop an Android application as another means of operation
- Display use of Jira and the KanBan methodology in developing a project
  MOST IMPORTANTLY
- Show the process of developing an open-source project
  - Best practices to follow
  - Following 7 key design principles

---
Design Principles
- Functionality – Develop for an application
- Robustness – Design with variation in mind
- Safety – Communicate hazards to users
- Simplicity – Make easy to source, build and operate
- Modularity – Build independent and individual units
- Benchmarking – Validate with standard protocols
- Documentation – Describe the design completely

---
Implementation Plan

---
Risks
- Lack of novel hardware design changes
  - Software will be novel
- Damage to equipment
  - Everything is cheap and easily replaceable
- With more modifications, project loses simplicity
  - Keep everything modular, get a layman to build and operate the SP based on written documentation

---
Context
- Commercial Lab equipment is expensive and unsuitable for modification
  - Open source is inexpensive and (usually) designed with modification in mind
  - The quality of commercial syringe pumps is easily achievable at a low cost
- Updating design for the modern-day user
  - Mobile phones are widespread and easily understood by most everyone
  - Build an interface to reflect mobile app design principles for HCI

---
Context
- Quantifying the Value of Open Source Hardware Development
  - In 2014, predictions made about the future of the Syringe Pump market
- Latest Syringe Pump Projects
  - PDSP – Evolved UI and extensibility
  - Poseidon – Focus on micro-fluidics and open-source design principles, strong documentation

---
Achievements during Challenge Week
- Applying KanBan methodology to daily project tasks
- 3D printed parts for Syringe Pump and ordered all items on the Bill of Materials
- Timeline of objectives up until Week 11
- Completed Analysis of Related Works for Background Reading